## bid
City of Dayton
N21005 HEATING VENTILATION AND AIR CONDITIONING (HVAC) FILTERS, REFRIGERANTS AND RELATED ITEMS
Company Name:
Note | Quantities of the items contained in this bid are needed during the year, orders will be placed based on the price agreement unit cost bid.
Note | We are asking you to fill in the Gray shaded areas.
Note | If you have any questions or any conflict regarding the item's description, it is the bidders' responsibility to verify with Procurement, please email questions to bids@daytonohio.gov
Note | All Product Summary, Specifications, And Manufacturer's Warranty shall be Included with the Bid.
BID ITEM # | DESCRIPTION | Unit of Measure | Number of filters to Package/ Carton | Individual | Package/Carton | MFG. | Product #
| Pleated Air Filters (MERV 8) |  |  | $ | $
1 | Air Filter - Size: 10” x 20” x 1” | EACH |  | $ | $
2 | Air Filter - Size: 11” x 11” x 1” | EACH |  | $ | $
3 | Air Filter - Size: 20” x 20” x 2” | EACH |  | $ | $
4 | Air Filter - Size: 20” x 24” x 2” | EACH |  | $ | $
5 | Air Filter - Size: 20” x 24” x 4” | EACH |  | $ | $
6 | Air Filter - Size: 20” x 25” x 2” | EACH |  | $ | $
7 | Air Filter - Size: 20” x 20” x 1” | EACH |  | $ | $
8 | Air Filter - Size: 20” x 25” x 1” | EACH |  | $ | $
9 | Air Filter - Size: 20” x 25” x 4” | EACH |  | $ | $
10 | Air Filter - Size: 20” x 30” x 2” | EACH |  | $ | $
11 | Air Filter - Size: 18” x 24” x 2” | EACH |  | $ | $
12 | Air Filter - Size: 18” x 24” x 4” | EACH |  | $ | $
13 | Air Filter - Size: 18” x 25” x 2” | EACH |  | $ | $
14 | Air Filter - Size: 24” x 24” x 2” | EACH |  | $ | $
15 | Air Filter - Size: 16” x 16” x 1” | EACH |  | $ | $
16 | Air Filter - Size: 16” x 16” x 2” | EACH |  | $ | $
17 | Air Filter - Size: 16” x 20” x 1” | EACH |  | $ | $
18 | Air Filter - Size: 16” x 20” x 2” | EACH |  | $ | $
19 | Air Filter - Size: 16” x 25” x 1” | EACH |  | $ | $
20 | Air Filter - Size: 16” x 20” x 4” | EACH |  | $ | $
| Air Filter - Size: 16” x 24” x 2” | EACH |  | $ | $
21 | Air Filter - Size: 16” x 25” x 2” | EACH |  | $ | $
| Air Filter - Size: 16” x 25” x 4” | EACH |  | $ | $
22 | Air Filter - Size: 12” x 24” x 1” | EACH |  | $ | $
23 | Air Filter - Size: 12” x 24” x 2” | EACH |  | $ | $
24 | Air Filter - Size: 12” x 24” x 4” | EACH |  | $ | $
25 | Air Filter - Size: 7 x 23-1/2 x 1 | EACH |  | $ | $
26 | Air Filter - Size: 9.5 x 14.5 x 1 | EACH |  | $ | $
27 | Air Filter - Size: 24 x 24 x 4 | EACH |  | $ | $
Bag Filters (85% Efficiency)
28 | Air Filter - Size: 24” x 24” x 18” (Minimum 3 Pockets) | EACH |  | $ | $
29 | Air Filter - Size: 12” x 24” x 18” (Minimum 3 Pockets) | EACH |  | $ | $
Rigid Box Filters (85% Efficiency)
30 | Air Filter - Size: 24” x 24” x 12” (With Single Header) | EACH |  | $ | $
31 | Air Filter - Size: 24” x 24” x 12” (Without Single Header) | EACH |  | $ | $
V-Cells (85% Efficiency)
32 | Air Filter - Size: 24” x 24” x 12” (x100/year) | EACH |  | $ | $
Charcoal Filters
33 | Air Filter - Size: 12” x 24” x 1” | EACH |  | $ | $
34 | Air Filter - Size: 24” x 24” x 1” Pleated Carbon | EACH |  | $ | $
35 | Air Filter - Size: 24” x 18” x 1” Pleated Carbon | EACH |  | $ | $
36 | Air Filter - Size: 24” x 24” x 1” Granular Carbon Honeycomb | EACH |  | $ | $
37 | Air Filter - Size: 24” x 18” x 1” Granular Carbon Honeycomb | EACH |  | $ | $
Air filter – efficiencies of 90% - 95%
38 | Air Filter - Size: 24” x 24” x 12” With Header – Pleated | EACH |  | $ | $
39 | Air Filter - Size: 12” X 24” X 12” With Header – Pleated | EACH |  | $ | $
40 | Air Filter - Size: 12” x 24” x 1” – Pleated With Welded | EACH |  | $ | $
41 | Air Filter - Size: 12” X 24” X 2” – Pleated With Welded | EACH |  | $ | $
42 | Air Filter - Size: 16” X 20” X 2” – Pleated With Welded | EACH |  | $ | $
43 | Air Filter - Size: 16” X 25” X 2” – Pleated With Welded | EACH |  | $ | $
44 | Air Filter - Size: 18” X 24” X 2” – Pleated With Welded | EACH |  | $ | $
45 | Air Filter - Size: 20” X 20” X 2” – Pleated With Welded | EACH |  | $ | $
46 | Air Filter - Size: 20” X 24” X 2”– Pleated With Welded | EACH |  | $ | $
47 | Air Filter - Size: 20” X 25” X 2”– Pleated With Welded | EACH |  | $ | $
48 | Air Filter - Size: 24” X 24” X 2” – Pleated With Welded | EACH |  | $ | $
49 | Air Filter - Size: 18” X 24” X 4” – Pleated With Welded | EACH |  | $ | $
50 | Air Filter - Size: 24” X 24” X 4” – Pleated With Welded | EACH |  | $ | $
51 | Air Filter - Size: 12” X 24” X 4” – Pleated With Welded | EACH |  | $ | $
52 | Roll-o-Mat Gold 4’ | EACH |  | $ | $
Portable Combustion Analyzer
53 | Portable Combustion Analyzer | EACH |  | $ | $
Refrigerant
| Refrigerants R-22=30 lb. (possible use of 3-8), R-134=30 lb. (possible use of 3-8 containers) |  |  | $ | $
54 | Refrigerant Leak Detector, Brand: #H85-436 or Acceptable Equal Must be able to find CFC, HCFC, HFC and replacement blends. Must be highly sensitive around equipment that is dripping. condensation Must be 0.10 oz. per year sensitive, even with replacement blends. Must include a sensor failure indicator Must meet SAEJ1627 for R134a, R40a and R12. Must have a high/low sensitivity switch. | EACH |  | $ | $
55 | Refrigerant Recovery Cylinders Must have Y-valve for liquid or vapor ¾ NPT opening to accept 80% fill shutoff device ¼ opening to receive air purge valve. Must be reusable and meet DOT-4BA specifications and ARI guidelines. Must be suitable for R410A recovery
56 | 30 lb. container and Brand: #H93-084 or Acceptable Equal | 30 LB Container |  | $ | $
57 | 50 lb. container and Brand: #H93-085 or Acceptable Equal | 50 LB Container |  | $ | $
58 | Refrigerant Recovery Unit Must be able to recover all refrigerants including R410A. Must be able to accept optional 80% shutoff feature. Must be UL certified and meet or exceed ARI 740-98. Must have High-low pressure shutoff switch. Must be self purging. Must have inline suction filtration. Brand : H93-102 or Acceptable Equal | Per Unit |  | $ | $
26 Gauge Round Metal Duct
59 | 3”x60” 26 gauge round metal duct | EACH |  | $ | $
60 | 4” x60” 26 gauge round metal duct | EACH |  | $ | $
61 | 6” x60” 26 gauge round metal duct | EACH |  | $ | $
62 | 8” x60” 26 gauge round metal duct | EACH |  | $ | $
63 | 10” x60” 26 gauge round metal duct | EACH |  | $ | $
64 | 12” x60” 26 gauge round metal duct | EACH |  | $ | $
65 | 16” x60” 26 gauge round metal duct | EACH |  | $ | $
66 | Manual dampers for above duct | EACH |  | $ | $
67 | Adjustable elbows for above duct | EACH |  | $ | $
Insulated Flex Duct
68 | 3”x 25’ insulated flex duct | EACH |  | $ | $
69 | 4”x 25’ insulated flex duct | EACH |  | $ | $
70 | 6”x 25’ insulated flex duct | EACH |  | $ | $
71 | 8”x 25’ insulated flex duct | EACH |  | $ | $
72 | 10”x 25’ insulated flex duct | EACH |  | $ | $
73 | 12”x 25’ insulated flex duct | EACH |  | $ | $
74 | 16”x 25’ insulated flex duct | EACH |  | $ | $
Air Diffusers
75 | 2x2 Ceiling air diffusers | EACH |  | $ | $
Lay in Return Filter Grills
76 | 2x2 Ceiling lay in return filter grills | EACH |  | $ | $
Side Wall Grills
77 | 6"x 6" | EACH |  | $ | $
78 | 12" x 12" | EACH |  | $ | $
79 | 14" x 10" | EACH |  | $ | $
80 | 6" x 12" | EACH |  | $ | $
81 | 20" x 10" | EACH |  | $ | $
82 | 24" x 14" | EACH |  | $ | $
Ceiling/ Wall Registers
83 | 10" x 6" | EACH |  | $ | $
84 | 12" x 6" | EACH |  | $ | $
85 | 12" x 8" | EACH |  | $ | $
86 | 10" x 4" | EACH |  | $ | $
87 | 14" x 6" | EACH |  | $ | $
88 | 30" x 8" | EACH |  | $ | $
89 | 14" x 8" | EACH |  | $ | $
90 | 12" x 12" | EACH |  | $ | $
91 | 20" x 20" | EACH |  | $ | $
Flue Pipe
92 | 4" | EACH |  | $ | $
93 | 6" | EACH |  | $ | $
94 | 8" | EACH |  | $ | $
95 | 10" | EACH |  | $ | $
96 | Storm collars for above | EACH |  | $ | $
97 | Caps for above | EACH |  | $ | $
Freon
98 | Freon add in - 410a/30 LB cylinder | 30 LB Cylinder |  | $ | $
Miscellaneous Parts
99 | HONEYWELL KEYBOARD DISPLAY MODULE MODEL# S7800A1001 COMPATIBLE WITH INSTALLED HONEYWELL 7800 SERIES | EACH |  | $ | $
100 | HONEYWELL SOLID STATE PLUG-IN AMPLIFIER MODEL# R7849A1023 USED WITH 7800 SERIES RELAY MODULES | EACH |  | $ | $
101 | HONEYWELL POWER RELAY MODULE 30 SECOND TIMING CARD FOR RM7800 HONEYWELL CONTROLS MODEL# ST7800A1039 | EACH |  | $ | $
102 | HONEYWELL IMMERSION CONTROLLER 100⁰F TO 240⁰F MODEL# L6006A1145 | EACH |  | $ | $
103 | HONEYWELL Minipeeper UV Sensor, 1/2" Mounting MODEL# C7027A1023 | EACH |  | $ | $
104 | HONEYWELL High Limit Aquastat, 130-240°F Range, Manual Reset, 66" Capillary, Stop Factory-Set at 250°F, No Well MODEL# L4008E1156 | EACH |  | $ | $
105 | 2-1/2" PEM Dual Scale Economy Pressure Gauge (0-100 PSI), 1/4" NPT MODEL# PEM214 | EACH |  | $ | $
106 | 2-1/2" PEM Dual Scale Economy Pressure Gauge (0-60 PSI), 1/4" NPT MODEL# PEM213 | EACH |  | $ | $
107 | Quartz Lens, 1600W, 240V, Fits Brand Liebert MODEL# H-0020S | EACH |  | $ | $
108 | CLEVELAND CONTROLS PRESSURE SWITCH, SURFACE MOUNT .05" TO 12" WC, SPDT, (3) 90 DEG QUICK CONN 1/4" SPADE TERMINALS MODEL# AFS-227-161 | EACH |  | $ | $
109 | BIG BLU BRUSH ON MICROLEAK DETECTOR MODEL# RT175B OR ACCEPTABLE EQUAL | EACH |  | $ | $
110 | BIG BLU LEAK DETECTOR 32 OZ MODEL# RT100S OR ACCEPTABLE EQUAL | EACH |  | $ | $
111 | BELL & GOSSETT SEAL KIT MODEL# 186543LF | EACH |  | $ | $
112 | SOLENOID MAGNET 18 MM MODEL# TLMKC18 OR ACCEPTABLE EQUAL | EACH |  | $ | $
113 | WEISS 5" DIAL 0-300⁰F, 9" STEM 5RBM9-300 | EACH |  | $ | $
114 | WIKA 4.5" DIAL PROCESS GAUGE MODEL 26X34.45 BLACK-FIBERGLASS REINFORCED THERMOPLASTIC CASE MONEL® WETTED PARTS ACRYLIC WINDOW WHITE ALUMINUM DIAL MATERIAL 1/2" MNPT LOWER MOUNT | EACH |  | $ | $
115 | GAUGE, PRESSURE 0 TO 15 PSI RANGE, 1/4 IN MNPT, +/-3-2-3% GAUGE ACCURACY Manufacturer Item# PEM136 Or Acceptable Equal | each |  | $ | $
116 | GAUGE, PRESSURE, 2-1/2" PEM DUAL SCALE ECONOMY (0-200 PSI) Manufacturer Item# PEM1441 Or Acceptable Equal | each |  | $ | $
117 | GAUGE, PRESSURE, 2.5" DIAL, 0-200#, 1/4" BTM Manufacturer Item# PEM216 Or Acceptable Equal | each |  | $ | $
| Special Filters | EACH
118 | 17"OD X 13" ID X 10" AIR FILTER MEDIA IS PAPER END RETAINERS-PLASTISOL MOLDS OUTER RETAINER- GALVANIZED EXPANDED METAL INNER RETAINER- GALVANIZED WIRE SCREEN URETHANE GASKET ON BOTTOM CLEAN ELEMENT PRESSURE DROP- 1.6" W.C. AT 100% OF RATED FLOW MAXIMUM OPERATING TEMPERATURE IS 200⁰F(93⁰C) EFFICIENCY IS 97% AT 1 MICRON AND 99.5% AT 2 MICRONS PD BLOWER MODEL# 81-1163 OR ACCEPTABLE EQUAL | EACH |  | $ | $
119 | HYDROGEN SULFIDE (H2S) FILTER CASSETTE FOR USE IN PURAFIL MODEL PPU 500V | EACH |  | $ | $
120 | HYDROGEN SULFIDE (H2S) FILTER CASSETTE FOR USE IN PURAFIL MODEL PPU 1000V | EACH |  | $ | $
121 | 1/2" POLY ROLL 30-48" X 135' MANUFACTURER ITEM# VL-05PST-30 OR ACCEPTABLE EQUAL | ROLL
122 | 10" H X 13" ID X 17" OD FILTER MANUFACTURER ITEM# UNIVERSAL 811164 NO SUBSTITUTIONS | EACH |  | $ | $
123 | 10" H X 13" ID X 17" OD FILTER MANUFACTURER ITEM# UNIVERSAL 811163 NO SUBSTITUTIONS | EACH |  | $ | $
124 | 10" H X 13" ID X 17" OD FILTER MANUFACTURER ITEM# UNIVERSAL 811209 NO SUBSTITUTIONS | EACH |  | $ | $
125 | POLY PAD 6-3/4" X 6-3/4" X 1/2" MERV 7, WHITE FILTRATION GROUP STYLE# VL-05PST-36 OR ACCEPTABLE EQUAL | EACH |  | $ | $
126 | POLY PAD 8-1/2" X 8-1/2" X 1/2" MERV 7, WHITE FILTRATION GROUP STYLE# VL-05PST-36 OR ACCEPTABLE EQUAL | EACH |  | $ | $
127 | POLY PAD 11-1/4" X 11-1/4" X 1/2" MERV 7, WHITE FILTRATION GROUP STYLE# VL-05PST-36 OR ACCEPTABLE EQUAL | EACH |  | $ | $
128 | FILTER MERV 11 15-5/8" LONG, 12-1/2" WIDE, 11/16" THICK FOR DAYTON BRAND DEHUMIDIFIER MANUFACTURER ITEM# HVLGR110HG- NO SUBSTITUTIONS | EACH |  | $ | $
129 | FF-1025-B AIR FILTER 12" X 27.88" X .88" WITH 0.25" THICK, GRAY, 25 PPI QUADRAFOAM RATED UL 94 HF-1. ALUMINUM FRAME AND UNI-GRID SUPPORT ON ONE SIDE. UNIVERSAL AIR FILTER PART# 018-000092-0003 NO SUBSTITUTIONS | EACH |  | $ | $
130 | HYDROGEN SULFIDE CASSETTE FILTER 11-5/8 X 23-1/2 X 119/16 AAF-HD CASSET W/ CARB-MA/HT #3024130-009 ALLIED 99-0012PH-3-04-11-08 OR ACCEPTABLE EQUAL | 2 HALVES |  | $ | $
| Across the board discount on all other Furnace/A C Units filters Not listed in this bid |  |  |  |  | % | %
| Across the board discount on all other HVAC Parts Not listed in this bid |  |  |  |  | % | %