## Sheet1
City of Dayton
IFB 26005AD Plumbing and Related Supplies Part II of II
Company Name:
Note | We are asking you to fill in the Gray shaded areas. Please Specify the unit of measure quoted (ie 1 box of 25, 1 case of 4 tubes) and the Price for EACH UNIT listed in the Unit of Measure Requested.
Note | Quantities of the items contained in this bid are needed during the year, orders will be placed bassed on the price agreement unit cost bid. The City realizes on some fittings it is impossible to quote a set dollar figure to be valid for the year and has given you an opportunity to bid a percentage off of list price.
Note | The following brass MUST BE LEAD-FREE and fittings shall comply with all applicable parts of the following specifications; AWWA C800 - ASTM b-62 (82-5-5) ANSI B2.1.
Note | If you have any questions or any conflict regarding the item's description, it is the bidders' responsibility to verify with Procurement, please contact Austin Dickison at Austin.Dickison@daytonohio.gov-All questions shall to be in writing.
BID ITEM # | CITY ITEM # | DESCRIPTION | UNIT OF MEASURE REQUESTED | UNIT OF MEASURE QUOTED BY VENDOR | PRICE AGREEMENT UNIT OF MEASURE COST | MFG. | MODEL # | NOTES
1 | 17000 | 3/4" X 1/2" Brass Hex Bushing, LEAD-FREE, NPT | EACH
2 | 17048 | 2" x 1-1/2" Brass Hex Bushing, LEAD-FREE, NPT | EACH
3 | 17050 | 2" X 1" Brass Hex Bushing, LEAD-FREE, NPT | EACH
4 | 17060 | Bushing, Brass 1-1/2" CC X 1" CC (Reduce Tap Saddle) LEAD-FREE Brass Bushing, Male AWWA (MUELLER "CC") Thread X Female AWWA Taper (MUELLER "CC") Thread H-10036 | EACH
5 | 17061 | Bushing, Brass 2" CC X 1" CC (Reduce Tap Saddle) Brass Bushing. Male AWWA (MUELLER "CC") Thread X Female AWWA Taper (MUELLER "CC") Thread H-100 Ford Meter Co. #BBAA-74 | EACH
6 | 17062 | Bushing, Brass 2" CC X 1-1/2" CC (Reduce Tap Saddle) Brass Bushing, LEAD-FREE. Male AWWA (MUELLER "CC") Thread X Female AWWA Taper (MUELLER "CC") Thread H-100 Ford Meter Co. #BBAA-76 | EACH
7 | 17100 | 3/4" LEAD-FREE Brass Pipe Cap, NPT | EACH
8 | 17104 | 1" Brass Pipe Cap, LEAD-FREE, NPT | EACH
9 | 17108 | 1-1/4" Brass Pipe Cap, LEAD-FREE, NPT | EACH
10 | 17150 | 3/4" FIP X 3/4" FIP Brass 90 Degree ELL, LEAD-FREE | EACH
The following brass nipples MUST BE LEAD-FREE and shall conform to Federal Specifications WW-351A, 150 pound class:
11 | 17200 | 1/2" X 3" Brass Nipple, LEAD-FREE | EACH
12 | 17201 | 1/2" X CLOSE" Brass Nipple, LEAD-FREE | EACH
13 | 17202 | 3/4" X 1-1/2" Brass Nipple, LEAD-FREE | EACH
14 | 17204 | 3/4" X 3" Brass Nipple, LEAD-FREE | EACH
15 | 17208 | 1" X 3" Brass Nipple, LEAD-FREE | EACH
16 | 17212 | 1-1/2" X CLOSE Brass Nipple, LEAD-FREE | EACH
17 | 17216 | 1-1/2" X 2-1/2" Brass Nipple, LEAD-FREE | EACH
18 | 17220 | 1-1/2" X 3" Brass Nipple, LEAD-FREE | EACH
19 | 17224 | 1-1/2" X 3-1/2" Brass Nipple, LEAD-FREE | EACH
20 | 17228 | 1-1/2" X 4" Brass Nipple, LEAD-FREE | EACH
21 | 17232 | 1-1/2" X 4-1/2" Brass Nipple, LEAD-FREE | EACH
22 | 17236 | 1-1/2" X 5" Brass Nipple, LEAD-FREE | EACH
23 | 17237 | 1-1/2" X 5-1/2" Brass Nipple, LEAD-FREE | EACH
24 | 17238 | 1-1/2" X 6" Brass Nipple, LEAD-FREE | EACH
25 | 17240 | 2" X CLOSE Brass Nipple, LEAD-FREE | EACH
26 | 17244 | 2" X 2-1/2" Brass Nipple, LEAD-FREE | EACH
27 | 17248 | 2" X 3" Brass Nipple, LEAD-FREE | EACH
28 | 17252 | 2" X 3-1/2" Brass Nipple, LEAD-FREE | EACH
29 | 17256 | 2" X 4" Brass Nipple, LEAD-FREE | EACH
30 | 17260 | 2" X 4-1/2" Brass Nipple, LEAD-FREE | EACH
31 | 17264 | 2" X 5" Brass Nipple, LEAD-FREE | EACH
32 | 17265 | 2" X 5-1/2" Brass Nipple, LEAD-FREE | EACH
33 | 17266 | 2" X 6" Brass Nipple, LEAD-FREE | EACH
The following Brass Unions shall conform to ASTM b-584-79 Standard Commercial Metal, AND BE LEAD FREE.
34 | 17400 | 1/2" MUELLER Thread Brass Plug, LEAD-FREE. MUELLER No. H-10033 Or Approved Equal | EACH
35 | 17402 | 3/4" MUELLER Thread Brass Plug, LEAD-FREE. MUELLER No. H-10033 Or Approved Equal | EACH
36 | 17404 | 5/8" MUELLER Thread Brass Plug, LEAD-FREE. MUELLER No. H-10033 Or Approved Equal | EACH
37 | 17406 | 1" MUELLER Thread Brass Plug, LEAD-FREE. MUELLER No. H-10033 Or Approved Equal | EACH
38 | 17408 | 1-1/2" MUELLER Thread Brass Plug, LEAD-FREE. MUELLER No. H-10033 Or Approved Equal | EACH
39 | 17410 | 2" MUELLER Thread Brass Plug, LEAD-FREE. MUELLER No. H-10033 Or Approved Equal | EACH
The Following Brass Unions Shall Conform to ASTM b 584-79 Standard Commercial Metal, AND MUST BE LEAD-FREE. (Flag Brand Not Acceptable)
40 | 17600 | 1-1/2" Brass Ground Joint Union, LEAD-FREE. 150 lbs Class | EACH
41 | 17610 | 2" Brass Ground Joint Union, LEAD-FREE. 150 lbs Class | EACH
42 | 18408 | 3/4" Copper X 3/4" Copper X 3/4" Copper Flared TEE, LEAD-FREE, For Copper Service Pipe, Type K. Ford Meter Box Co. #T222-333 Or Approved Equal | EACH
43 | 18409 | 1" Copper X 1" Copper X 1" Copper Flared TEE, LEAD-FREE. For Copper Service Pipe, Type K. Ford Meter Box Co. #T222-444 Or Approved Equal | EACH
44 | 18606 | 3/4" Copper X 3/4" Copper Three Part Flared Brass Union, LEAD-FREE. Ford Meter Box Co. #C22-33 Or Approved Equal | EACH
45 | 18608 | 1" Copper X 1" Copper Three Part Flared Brass Union, LEAD-FREE.Ford Meter Box Co. #C22-44 Or Approved Equal | EACH
46 | 18610 | 1-1/4" Copper X 1-1/4" Copper Three Part Flared Brass Union, LEAD-FREE. Ford Meter Box Co. #C22-55 Or Approved Equal | EACH
47 | 18612 | 1-1/2" C X 1-1/2" C Flared Three Part BrassUnion, LEAD-FREE. Ford Meter Box Co. #C22-66 Or Approved Equal | EACH
48 | 18614 | 2" C X 2" C Flared Three Part Brass Union, LEAD-FREE. Ford Meter Box Co. #C22-77 Or Approved Equal | EACH
49 | 24004 | 3/4" FL Copper X 3/4" Female Iron Pipe Straight Couplings, LEAD-FREE. Ford Meter Box Co. #C21-33 Or Approved Equal | EACH
50 | 24005 | 3/4" FL Copper X 3/4" Male Iron Pipe Straight Couplings, LEAD-FREE. Ford Meter Box Co. #C28-33 Or Approved Equal | EACH
51 | 24006 | 3/4" Flared Copper X 1/2" Female Iron Pipe Straight Couplings, LEAD-FREE. Ford Meter Box Co. #C21-31 Or Approved Equal | EACH
52 | 24008 | 3/4" Flared Copper X 1" Female Iron Pipe Straight Couplings, LEAD-FREE. Ford Meter Box Co. #C21-34. Non-Ford Brand Not Acceptable Due To The Threads & Configuration (6PT Nut) MUELLER & MCDONALD WILL NOT FIT DIRECTLY ONTO CORP STOP | EACH
53 | 24009 | Adapters For Flare Copper Connection 1" Female Copper Thread X 3/4" Flare Copper Piggyback Nuts, LEAD-FREE. Ford Meter Box Co. #C02-43 | EACH
54 | 24010 | 1" Flared Copper X 1" Female Iron Pipe Straight Couplings, LEAD-FREE. Ford Meter Box Co. #C21-44 Or Approved Equal | EACH
55 | 24019 | 2" Flared Copper X 2" Female Iron Pipe Straight Couplings, LEAD-FREE. MCDONALD #4754 OR Ford Meter Box Co. #C21-77 | EACH
56 | 24025 | 1" Flared Copper Thread X 1" Flared Copper, Quarter Bend, Swivel, LEAD-FREE. Ford Meter Box Co. #L02-44S Or MCDONALD | EACH
57 | 24026 | 3/4" Flared Copper Thread X 3/4" Flared Copper, 90 Degree, Swivel, LEAD-FREE. Ford Meter Box Co. #L02-33 Or MCDONALD #4776S | EACH
58 | 24027 | 3/4" Flared Copper X 3/4" Male Iron Pipe 90 Degree ELL Coupling, LEAD-FREE. Ford Meter Box Co. #L28-33 | EACH
59 | 24028 | 3/4" LEAD-FREE Brass Flared Copper X Lead Adapter. H-1548 | EACH
60 | 24029 | 1" Flared Copper X 1" Male Iron Pipe Straight Couplings, LEAD-FREE. Ford Meter Box Co. #C28-44 | EACH
61 | 24030 | 1-1/4" Flared Copper X 1-1/4" Female Iron Pipe Straight Couplings, LEAD-FREE. Ford Meter Box Co. #C21-55 | EACH
62 | 24031 | 1-1/4" Female Copper Thread X 1" Flared Copper Piggyback Nuts, LEAD-FREE. Adapter For Flare Copper Connentor. Ford Meter Box Co. #CO2-54 | EACH
63 | 24032 | 1-1/2" Flared Copper X 1-1/2" Female Iron Pipe Straight Couplings, LEAD-FREE. Ford Meter Box Co. #C21-66 | EACH
64 | 24034 | 1" Flared Copper X 1-1/4" Female Iron Pipe Straight Couplings, LEAD-FREE. Ford Meter Box Co. #C21-45 | EACH
65 | 24035 | 1-1/2" Female Copper Thread X 1" Flared Copper Piggyback Reducer Coupling, Adapter, LEAD-FREE. Ford Meter Box Co. #C02 -64 | EACH
66 | 24036 | 1" Female Coupling Thread Inlet X 1" Flared Copper Outlet Adapter, LEAD-FREE. Ford Meter Box Co. #C102-44, MacDonald 4742 | EACH
67 | 24037 | 2" Female Iron Pipe X 1" Flared Copper Reducing Coupling, LEAD-FREE. Ford Meter Box Co. #C02-74 | EACH
68 | 24038 | 2" Female Copper Thread X 1-1/2" Flared Copper Reducing Coupling, LEAD-FREE, Ford Meter Box Co. #C02-76 | EACH
69 | 24040 | 1-1/4" Female Iron Pipe X 1" Female Iron Pipe Reducing Coupling, LEAD-FREE. Ford Meter Box Co. #C11-54 | EACH
70 | 24042 | 1-1/2" Female Iron Pipe X 1" Female Iron Pipe Reducing Coupling, LEAD-FREE Ford Meter Box Co. #C11-64 | EACH
71 | 24044 | 2" X 1-1/2" FIP X FIP Reducer Coupling NPT LEAD-FREE | EACH
72 | 26000 | 3/4" Ball Valve Corp Stop For Copper Service Pipe, LEAD-FREE . Inlet: MUELLER THREAD; Outlet: COPPER WITH STRAIGHT COUPLING NUT, LEAD-FREE . No Gasket Required. Ford Meter Box Co. #FB600-3 | EACH
73 | 26002 | 1" Ball Valve Corp Stop For Copper Service Pipe. Inlet: MUELLER THREAD; Outlet: COPPER WITH STRAIGHT COUPLING NUT. No Gasket Required. Ford Meter Box Co. #FB600-4 | EACH
74 | 26004 | 1-1/2" Ball Valve Corp Stop For Copper Service Pipe, LEAD-FREE . Inlet: MUELLER THREAD; Outlet: COPPER WITH STRAIGHT COUPLING NUT, LEAD-FREE . No Gasket Required. Ford Meter Box Co. #FB600-6 | EACH
75 | 26006 | 2" Ball Valve Corp Stop For Copper Service Pipe, LEAD-FREE . Inlet: INLET: MUELLER THREAD; Outlet: COPPER WITH STRAIGHT COUPLING NUT, LEAD-FREE . No Gasket Required. Ford Meter Box Co. #FB600-7 | EACH
76 | 27004 | 1/2" LEAD-FREE Brass Compression Coupling, 1/2" I.P. X 1/2" I.P. C55-11NL | EACH
77 | 27010 | 3/4" LEAD-FREE Brass Compression Coupling, 3/4" I.P. X 3/4" I.P. C55-33NL | EACH
78 | 27016 | 1" LEAD-FREE Brass Compression Coupling, 1" I.P. X 1" I.P. C55-44NL | EACH
79 | 27750 | Lead Pak Couplings, 1/2" Extra Strong Lead X 3/4" Flared Copper Tubing, LEAD-FREE . Ford Meter Box Co. #Q22-13NL A.K.A. #C24-33NL | EACH
80 | 27752 | Lead Pak Couplings, 1/2" Extra Extra Strong Lead X 3/4" Flared Copper Tubing, LEAD-FREE . Ford Meter Box Co. #Q32-13NL A.K.A. #Q12-23NL | EACH
81 | 27757 | Lead Pak Coupling Joint, 5/8" Extra Strong Lead X 3/4" Male Iron Pipe, LEAD-FREE, Ford Meter Box Co. Q28-23
82 | 27758 | Lead Pak Couplings, 5/8" Extra Strong Lead X 3/4" Flared Copper Lead X 3/4" Flared Copper Tubing, LEAD-FREE . Ford Meter Box Co. #Q22-23NL A.K.A. #C26-33NL | EACH
83 | NONE | 1/2" CTS x 3/4" CTS LEAD-FREE brass reducing pack joint
84 | 27760 | Lead Pak Couplings, 5/8" Strong Lead X 3/4" Flared Copper Tubing, LEAD-FREE . Ford Meter Box Co. #Q12-23NL A.K.A. #Q32-13NL | EACH
85 | 27762 | Lead Pak Couplings, 3/4" Strong Lead X 3/4" Flared Copper Tubing, LEAD-FREE . Ford Meter Box Co. #Q12-33NL A.K.A. #Q32-23NL | EACH
86 | 27764 | Lead Pak Couplings, 3/4" Extra Strong Lead X 3/4" Flared Copper Tubing, LEAD-FREE. Ford Meter Box Co. #Q22-33NL Or Acceptable Equal. Due to a Tolerance Difference MCDONALD 3/4" XS PACK JOINTS ARE NOT ACCEPTABLE For This Item | EACH
87 | 27766 | Lead Pak Couplings, 3/4" Extra Extra Strong Lead X 3/4" Flared Copper Tubing, LEAD-FREE . Ford Meter Box Co. #Q32-33NL A.K.A. #C26-34 Or Acceptable Equal | EACH
88 | 327768 | Lead Pak Couplings, 3/4" Extra Strong Lead X 3/4" MIP Flared Copper Tubing, LEAD-FREE . Ford Meter Box Co. #Q28-33NL A.K.A. #C26-34NL Or Acceptable Equal
89 | 27770 | Lead Pak Couplings, 1" Extra Strong Lead X 1" Flared Copper Tubing, LEAD-FREE. Ford Meter Box Co. #Q22-44NL Or Acceptable Equal | EACH
90 | 27772 | Lead Pak Couplings, 1" Extra Extra Strong Lead X 1" Flared Copper Tubing, LEAD-FREE. Ford Meter Box Co. #Q32-44NL Or Acceptable Equal | EACH
91 | 27774 | Lead Pak Couplings, 1" Strong Lead X 1" Flared Copper Tubing, LEAD-FREE. Ford Meter Box Co. #Q12-44NL Or Acceptable Equal | EACH
92 | 27776 | Lead Pak Couplings, 1-1/4" Extra Strong Lead X 1-1/4" Male Iron Pipe Threads, LEAD-FREE. Ford Meter Box Co. #Q28-55NL A.K.A. #C86-55NL Or Acceptable Equal | EACH
93 | 27778 | Lead Pak Couplings, 1-1/2" Extra Strong LeadX 1-1/2" Male Iron Pipe Threads, LEAD-FREE. Ford Meter Box Co. #Q28-66NL A.K.A. #C86-66-160NL Or Acceptable Equal | EACH
94 | 27780 | Lead Pak Couplings, 1-1/2" Extra Strong Lead X 1-1/2" Flared Copper Tubing, LEAD-FREE. Ford Meter Box Co. #Q24-66NL Or Acceptable Equal | EACH
95 | 27781 | Lead Pak Couplings, 1-1/2" PVC X 1-1/2" Male Iron Pipe Threads, LEAD-FREE. Ford Meter Box Co. #C87-66NL Or Acceptable Equal | EACH
96 | 27782 | Lead Pak Couplings, 2" Female Iron Pipe X 1-1/2" Flared Copper Tubing, LEAD-FREE. Ford Meter Box Co. #C21-67NL | EACH
97 | 27784 | Lead Pak Couplings, 2" Extra Strong Lead X 2" Male Iron Pipe Threads, LEAD-FREE. Ford Meter Box Co. #Q28-77NL | EACH
98 | 27787 | Lead Pak Couplings, 2" MIP X 2" PEP, LEAD-FREE. Ford Meter Box Co. #C86-77NL Or Acceptable Equal | EACH
99 | 27788 | Lead Pak Couplings, 2" PVC X MIP Straight Coupling, LEAD-FREE. Ford Meter Box Co. #C87-77NL Or Acceptable Equal | EACH
100 | 27789 | Lead Pak Couplings, 2" COP./CTS/PLASTIC X 2" MIP, LEAD-FREE. Ford Meter Box Co. #C84-77NL Or Acceptable Equal | EACH
101 | 28000 | 3/4" Solid TEE Head, Roundway (360 Degrees) Ball Valve, Copper To Copper Curb Stop, LEAD-FREE. Ford Meter Box Co. #B22-333R Or Acceptable Equal | EACH
102 | 28002 | 1" Solid TEE Head, Roundway (360 Degrees) Ball Valve, Copper To Copper Curb Stop, LEAD-FREE. Ford Meter Box Co. #B22-444R Or Acceptable Equal | EACH
103 | 28004 | 1-1/4" Solid TEE Head, Roundway (360 Degrees) Ball Valve, Copper To Copper Curb Stop, LEAD-FREE. Ford Meter Box Co. #B22-777R Or Acceptable Equal | EACH
104 | 28006 | 1-1/2" Solid TEE Head, Roundway (360 Degrees) Ball Valve, Copper To Copper Curb Stop, LEAD-FREE. Ford Meter Box Co. #B22-666R Or Acceptable Equal | EACH
105 | 28008 | 2" Solid TEE Head, Roundway (360 Degrees) Ball Valve, Copper To Copper Curb Stop, LEAD-FREE. Ford Meter Box Co. #B22-777R Or Acceptable Equal | EACH
Beveled Rubber Gaskets for Expansion Connections to place between expansion connection thimble/nose piece and handwheel.
106 | Mtr1 | Gasket Size 5/8" Ford Meter Co. #GT-32 | EACH
107 | Mtr2 | Gasket Size 3/4" Ford Meter Co. # GT-33 | EACH
108 | Mtr3 | Gasket Size 1" Ford Meter Co. # GT-34 | EACH
Lock Nuts
109 | Mtr4 | Meter Size 5/8", LEAD-FREE. Ford Meter Co. # YLN-1 | EACH
110 | Mtr5 | Meter Size 5/8" X 3/4" & 3/4", LEAD-FREE. Ford Meter Co. #YLN-23 | EACH
111 | Mtr6 | Meter Size 1", LEAD-FREE. Ford Meter Co. # YLN-4 | EACH
112 | Mtr7 | Standard 3/4" Expansion Connector EC-23 LEAD-FREE | EACH
113 | Mtr8 | Straight Meter Couplings by Male Iron Pipe Thread for 5/8" Meters, 1/2" MIP x 2" Cplg Length, LEAD-FREE. Ford Meter Box #C38-11-2 | EACH
114 | Mtr9 | Straight Meter Couplings by Male Iron Pipe Thread for 5/8" X 3/4" & 3/4" Meters, 1/2" x 2-3/8" Cplg Length, LEAD-FREE. Ford Meter Box #C38-21-2.375 | EACH
Due to the volatility of the Brass Market I prefer to supply the City with a list price and bid ______________ % off list price for the above bid items thru 12/31/2025. If the manufacturer changes his list price to my company I will provide a new list to the Division of Procurement within thirty days.
Copper Service Pipe
115 | 21250 | Lineal Feet 3/4" Nominal Pipe Size Soft Copper Service Pipe Type K, LEAD-FREE (100 ft. Coils) American Made In Compliance With WW-T-799A, Type K. Wolverine Brand NOT ACCEPTABLE THIS SIZE ONLY - Results In Wastage Due To Problems During Flaring | ROLL
116 | 21252 | Lineal Feet 1" Nominal Pipe Size Soft Copper Service Pipe Type K, LEAD-FREE (100 ft. Coils) American Made In Compliance With WW-T-799A, Type K | ROLL
117 | 21254 | Lineal Feet 1-1/4" Nominal Pipe Size Soft Copper Service Pipe Type K, LEAD-FREE (60 ft. Coils) American Made In Compliance With WW-T-799A, Type K | ROLL
118 | 21255 | Lineal Feet 1-1/2" Nominal Pipe Size Soft Copper Service Pipe Type K, LEAD-FREE (20 ft. Straight Length) American Made In Compliance With WW-T-799A, Type K | ROLL
119 | 21256 | Lineal Feet 1-1/2" Nominal Pipe Size Soft Copper Service Pipe Type K, LEAD-FREE (60 ft. Coils) American Made In Compliance With WW-T-799A, Type K | ROLL
120 | 21258 | Lineal Feet 2" Nominal Pipe Size Soft Copper Service Pipe Type K, LEAD-FREE (40 ft. Coils) American Made In Compliance With WW-T-799A, Type K | ROLL
121 | 21260 | Lineal Feet 2" Nominal Pipe Size Soft Copper Service Pipe Type K, LEAD-FREE (20 ft. Length) American Made In Compliance With WW-T-799A, Type K | LGTH
Due to the volatility of the Copper Market I prefer to supply the City with a list price and bid ______________ % off list price for the above bid items thru 12/31/2025. If the manufacturer changes his list price to my company I will provide a new list to the Division of Procurement within thirty days.
Please quote a per item price for the PVC pipe listed above under the price agreement price area these items will be ordered by the stockroom in quantities varying from 2-20 at a time. In addition plumbers may need to pick up PVC pipefittings (various schedules and styles) not listed above. Please quote a discount off of list price good through 12/31/2025 for items not listed herein. Please supply the Procurement a new price list within thirty (30) days of any change. ____________% off List Price for PVC Fittings
Ball Valves and Related Items
122 | 23002 | 1/2" MIP (HOSE B) COP X MALE X Hose Boiler Drain Valve, LEAD-FREE. NIBCO #74CL Or Acceptable Equal | EACH
123 | 23004 | 3/4" MIP (HOSE B) COP X MALE X Hose Boiler Drain Valve, LEAD-FREE. MNPT/C X HOSE. NIBCO #74CL Or Acceptable Equal | EACH
124 | 23102 | Bronze Ball Valve, NPT Ends 1/4" 600 WOG, 125 WSP Rating, Bottom Loaded Stem And Packing Nut Threaded To Body FIP, LEAD-FREE. WATTS FBV-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
x 1.05 Local/Certified Preference Price
125 | 23104 | Bronze Ball Valve, NPT Ends 3/8" 600 WOG, 125 WSP Rating, Bottom Loaded Stem And Packing Nut Threaded To Body FIP, LEAD-FREE. WATTS FBV-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
x 1.05 Local/Certified Preference Price
126 | 23106 | Bronze Ball Valve, NPT Ends 1/2" 600 WOG, 125 WSP Rating, Bottom Loaded Stem And Packing Nut Threaded To Body FIP. LEAD-FREE. WATTS FBV-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
x 1.05 Local/Certified Preference Price
127 | 23108 | Bronze Ball Valve, NPT ENDS, 3/4" 600 WOG, 125 WSP Rating, Bottom Loaded Stem And Packing Nut Threaded To Body FIP, LEAD-FREE. WATTS FBV-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
x 1.05 Local/Certified Preference Price
128 | 23110 | Bronze Ball Valve, NPT ENDS, 1" 600 WOG, 125 WSP Rating, Bottom Loaded Stem And Packing Nut Threaded To Body FIP, LEAD-FREE. WATTS FBV-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
x 1.05 Local/Certified Preference Price
129 | 23112 | Bronze Ball Valve, NPT ENDS, 1 1/4", 600 WOG, 125 WSP Rating, Bottom Loaded Stem And Packing Nut Threaded To Body FIP, LEAD-FREE. WATTS FBV-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
130 | 23114 | Bronze Ball Valve, NPT Ends, 1-1/2", 600 WOG, 125 WSP Rating, Bottom Loaded Stem And Packing Nut Threaded To Body FIP, LEAD-FREE. WATTS FBV-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
131 | 23116 | Bronze Ball Valve, NPT Ends, 2", 600 WOG 125 WSP Rating, Bottom Loaded Stem And Packing Nut Threaded To Body FIP, LEAD-FREE. WATTS FBV-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
x 1.05 Local/Certified Preference Price
132 | 23130 | Bronze Ball Valve, 1/2" Sweat Ends, 400 WOG, Bottom Loaded Stem And Packing Nut Threaded To Body, LEAD-FREE. WATTS FBVS-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
133 | 23132 | Bronze Ball Valve, 3/4" Sweat Ends, 400 WOG, Bottom Loaded Stem And Packing Nut Threaded To Body, LEAD-FREE. WATTS FBVS-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
134 | 23134 | Bronze Ball Valve, 1" Sweat Ends, 400 WOG, Bottom Loaded Stem And Packing Nut Threaded To Body, LEAD-FREE. WATTS FBVS-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
135 | 23136 | Bronze Ball Valve, 1-1/4" Sweat Ends, 400 WOG, Bottom Loaded Stem And Packing Nut Threaded To Body, LEAD-FREE. WATTS FBVS-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
136 | 23138 | Bronze Ball Valve, 1-1/2" Sweat Ends, 400 WOG, Bottom Loaded Stem And Packing Nut Threaded To Body, LEAD-FREE. WATTS FBVS-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
137 | 23140 | Bronze Ball Valve, 2" Sweat Ends, 400 WOG, Bottom Loaded Stem And Packing Nut Threaded To Body, LEAD-FREE. WATTS FBVS-3C FULL PORT UL LISTED - WATTS BRAND ONLY | EACH
138 | 23206 | 3/4" 125 LB WSP, 200 LB WOG, SOLID DISC, Non-Rising Stem Gate Valve With FIP Ends. LEAD-FREE | EACH
139 | 23208 | 1" 125 LB S.W.P, 200 LB WOG, SOLID DISC, Non-Rising Stem Bronze Gate Valve With FIP Ends. LEAD-FREE | EACH
140 | 23210 | 1-1/4" 125 LB S.W.P, 200 LB WOG, SOLID DISC, Non-Rising Stem Bronze Gate Valve With FIP Ends. LEAD-FREE | EACH
141 | 23212 | 1-1/2" 125 LB S.W.P, 200 LB WOG, SOLID DISC, Non-Rising Stem Bronze Gate Valve With FIP Ends. LEAD-FREE. 10 PER CARTON | EACH
142 | 23214 | 2" 125 LB S.W.P, 200 LB WOG, SOLID DISC, Non-Rising Stem Bronze Gate Valve With FIP Ends. LEAD-FREE | EACH
143 | 23754 | 1/2" Stop & Waste Valve (F.S.P.S to F.S.P.S.) LEAD-FREE | EACH
144 | 23756 | 3/4" Stop & Waste Valve (F.S.P.S. to F.S.P.S.) LEAD-FREE | EACH
Please quote a per item price for the valves listed above under the price agreement price area. These items will be ordered by the stockroom in quantities varying from 5-40 at a time. In addition plumbers may need to pick up other sizes and styles of valves and related fittings not listed above. Please quote a discount off of list price good through 12/31/2025 for items not listed herein. ____________% off List Price for valves and related fittings
Patch Clamps
145 | 25000 | 1/2" JCM 110 Patch Clamp X 3" Wide S/S JCM #110-0084-3 | EACH
146 | 25001 | 1/2" JCM 110 Patch Clamp X 6" Wide S/S JCM #110-0084-6 | EACH
147 | 25002 | 3/4" JCM 110 Patch Clamp X 3" Wide S/S JCM #110-0105-3 | EACH
148 | 25003 | 3/4" JCM 110 Patch Clamp X 6" Wide S/S JCM #110-0105-6 | EACH
149 | 25004 | 1" JCM 110 Patch Clamp X 3" Wide S/S JCM #110-0132-3 | EACH
150 | 25005 | 1" JCM 110 Patch Clamp X 6" Wide S/S JCM #110-0132-6 | EACH
151 | 25006 | 1-1/4" JCM 110 Patch Clamp X 3" Wide S/S JCM #110-0166-3 | EACH
152 | 25007 | 1-1/4" JCM 110 Patch Clamp X 6" Wide S/S JCM #110-0166-6 | EACH
153 | 25008 | 1-1/2" JCM 110 Patch Clamp X 3" Wide S/S JCM #110-0190-3 | EACH
154 | 25009 | 1-1/2" JCM 110 Patch Clamp X 6" Wide S/S JCM #110-0190-6 | EACH
155 | 25010 | 2" JCM 110 Patch Clamp X 3" Wide S/S JCM #110-0238-3 | EACH
156 | 25011 | 2" JCM 110 Patch Clamp X 6" Wide S/S JCM #110-0238-6 | EACH
157 | 28752 | Pipe Thread Compound. 8OZ. WHITLON #IG8, Blue Magic Industrial Grade, Brush In Cap. | CAN
158 | 28758 | JC WHITLAM T-520 1-1/2" X 520" Teflon Tape Rolls. All Purpose. (Gage) Or PTFE Thread seal Tape MIL-SPEC-T-27730A 1/2" X 520" Made In USA.(Miami Valley Gasket) | ROLL
159 | 28760 | Teflon Paste 8OZ LA-C0 SLIC-TITE Paste With "TEFLON" Thread (White) Sealing Compound (Brush In Cap) OL Classified. | CAN
Misc. Related Items
158 | 12810 | 3/8" 5 lb Bag Meter Seals W/ 3/8" Plain Lead Seals For Wires. POLLARD NO. P74801 | EACH
159 | 12820 | Sealing Spool Of Meter Wire. 2 Ply Twisted Anti-Strip Copper Wire On Spools Of 1000 FT. POLLARD P751 | EACH
160 | 15300 | Bilco Key - Removable Square Key Wrench For Exterior Bilco Doors, Brass Finish | EACH
161 | 15302 | Curb Box Cleaner. NOTE: #8 Holder To Clean Dirt, Stones, And Other Debris From 2-1/2" Curb & Valve Boxes Without Digging Has Lever-Action Handle, Drop Forged Blades. Pollard No. P527 Duckbill Spring-Loaded Cleanout, CT10672 Or Acceptable Equal | EACH
162 | 15303 | Duck Bill, Curb Box Cleaner Repair Kit, Kit For Repair Of Drop Forged Blade For Curb & Valve Box Cleaner. KRAVITCH Kit # DBSRKIT or POLLARD Kit # P52617 The City will specify manufacturer's kit required at time of order. | EACH
163 | 15304 | 6' X 1-1/4" End Curb Box Shut-Off Key For 3/4", 1", And 1-1/4" Curb Stops Made Of 3/4" Round Steel Rod With A 20" Crossbar Or Welded TEE Handle. The Handle Should Have One End Chisel Shaped Or Flat & The Other End Pointed As A Pick For Digging Ice Or Dirt | EACH
164 | 15305 | 6' X 2" End Curb Box Shut-Off Key For 1-1/2" And 2" Curb Stops Made Of 3/4" Round Steel Rod With A 20" Crossbar Or Welded TEE Handle. The Handle Should Have One End Chisel Shaped Or Flat & The Other End Pointed As A Pick For Digging Ice Or Dirt | EACH
165 | 15306 | #1 Curb Box Bolt Wrench Key Ford. Meter Pit Key, STD. PENTAGON #1 POLLARD NO. P54101 | EACH
166 | 15308 | 24" Curb Box KEY, #3 Key Ford For STD PENTAGONS Or TEE Head Valves Of Cast Steel With Cadmium Plating For Use With Curb Boxes. Ford Box No. KEY-3-24 | EACH
167 | 15340 | Darby's (Asphalt Spreader) | EACH
168 | 15350 | Digging Bar 69" Tamp Top. True Temper Or Warren Tamper Top Post Hole Digger No. 49 Forged In 1 Piece From High Carbon Steel, Heat Treated And Tempered. 2-1/2" X 10" BLADE 2-3/8" TAMPER. WARREN NO. 020701 | EACH
169 | 15356 | 18" Rolling Head Pry Bar Valve Box | EACH
170 | 15870 | Sonoscope. Detects The Sound Of Escaping Water In Valves, Hydrants, Meters, Etc. Identifies Costly Leaks. (POLLARD NO. P679) | EACH
171 | 15380 | 1/2" X 12" Cold Chisel. HARGRAVE #210 | EACH
172 | 15384 | 5/8" X 6" Cold Chisel. HARGRAVE #201 | EACH
173 | 15388 | 1" X 12" Cold Chisel. HARGRAVE #210 | EACH
174 | 15392 | 1" X 18" Cold Chisel. HARGRAVE #210 | EACH
175 |  | GASKET, 1/8" RED RUBBER, FULL FACE, FOR PIPE SIZE 2" | EACH
176 |  | GASKET, 1/8" RED RUBBER, FULL FACE, FOR PIPE SIZE 3" | EACH
177 |  | GASKET, 1/8" RED RUBBER, FULL FACE, FOR PIPE SIZE 4" | EACH
178 |  | GASKET, 1/8" RED RUBBER, FULL FACE, FOR PIPE SIZE6" | EACH
179 |  | GASKET, 1/8" RED RUBBER, FULL FACE, FOR PIPE SIZE 8" | EACH
180 |  | GASKET, 1/8" RED RUBBER, FULL FACE, FOR PIPE SIZE 10" | EACH
Service Line Tubing Tools
181 |  | 3/4" Hammer Type Flaring Tools. Ridgid # 41330 | EACH
182 |  | 1" Hammer Type Flaring Tools. Ridgid # 41335 | EACH
183 |  | 1-1/4" Hammer Type Flaring Tools. Ridgid # 41340 | EACH
184 |  | 1-1/2" Hammer Type Flaring Tools. Ridgid # 41345 | EACH
185 |  | 2" Hammer Type Flaring Tools. Ridgid # 41350 | EACH
186 |  | Tubing Cutter for 1/4" - 1-1/8" Tubing with thin wheel Ridgid #101, Part No. 40617 | EACH
187 |  | Tubing Cutter for 1/8" - 1" Tubing with thin wheel Ridgid #10, Part No. 32910 | EACH
188 |  | Tubing Cutter for 3/16" - 1-1/8" Tubing with thin wheel Ridgid #15, Part No. 32920 | EACH
189 |  | Tubing Cutter for 5/8" - 2-1/8" Tubing with thin wheel Ridgid #20, Part No. 32930
190 |  | Soft Faced Brass 3 pound Brass Hammer Reed #HAM3 06088 | EACH
191 |  | Shave Hooks (Lead) Starbuck #414 | EACH
192 |  | Oval Blade for above Shave Hook Starbuck #158 | EACH
193 |  | 3/4" Solid (chip ejecting) threader die with extra-fine threads with two chasers cutting and two chasers for guiding the threads. Chasers should be cast in place not bolted. Reed Cat. No. OSP 3/4, Item Code 05408 | EACH
194 |  | 1" Solid (chip ejecting) threader die with extra-fine threads with two chasers cutting and two chasers for guiding the threads. Chasers should be cast in place not bolted. Reed No. OSP 1, Item Code 05410 | EACH
195 |  | 1-1/4" Solid (chip ejecting) threader die with extra-fine threads with two chasers cutting and two chasers for guiding the threads. Chasers should be cast in place not bolted. Reed Cat. No. 1SP1-1/4, Item Code 05472 | EACH
196 |  | 1-1/2" Solid (chip ejecting) threader die with extra-fine threads with two chasers cutting and two chasers for guiding the threads. Chasers should be cast in place not bolted. Reed Cat. No. 1SP1-1/2, Item Code | EACH
197 |  | 2" Solid (chip ejecting)threader die with extra-fine threads with two chasers cutting and two chasers for guiding the threads. Chasers should be cast in place not bolted. Reed Cat. No. 2SP2, Item Code 05534 | EACH
198 |  | Scissor Action Cutter for small diameter PE, PB, rubber or nylon Tubing Reed Cat. No. SC1, Item Code 04174 | EACH
199 |  | Blades for above Scissor Cutter Reed Cat. No. SC1B, Item Code 94170 | EACH
Please quote a per item price for the service tools listed above under the price agreement price area these items will be ordered by the stockroom in quantities varying from 5-40 at a time. In addition plumbers may need to pick up other types of small tools used in installing services and related items not listed above. Please quote a discount off of list price good through 12/31/2025 for items not listed herein. ____________% off List Price for Service Tools and Related Items
PLUMBERS CAULKING IRONS
200 |  | 1/8" Thick Blade Water Main Iron Mephisto #30037 | EACH
201 |  | 1/4" Thick Blade Water Main Iron Mephisto #30041 | EACH
202 |  | 3/8" Thick Blade Water Main Iron Mephisto #30045 | EACH
203 |  | 1/2" Thick Blade Water Main Iron Mephisto #30046 | EACH
204 |  | 5/8" Thick Blade Water Main Iron Mephisto #30047 | EACH
205 |  | 3/4" Thick Blade Water Main Iron Mephisto #30056 | EACH
206 |  | 7/8" Thick Blade Water Main Iron Mephisto #30057 | EACH
207 |  | 1/8" Thick Blade Offset Yarning Irons Mephisto #30029 | EACH
208 |  | 1/4" Thick Blade Offset Yarning Irons Mephisto #30058 | EACH
Please quote a per item price for the plumber's caulking irons listed above under the price agreement price area these items will be ordered by the stockroom in quantities varying from 1-5 at a time. In addition plumbers may need to pick up other types of caulking irons and related items not listed above. Please quote a discount off of list price good through 12/31/2025 for items not listed herein. ____________% off List Price for Caulking Irons and Related Items
SLOAN BRAND PARTS
203 |  | 3.5 GPF MANUAL ROYAL FLUSH VLV Code # 3010100 Sloan Product # 110 | EACH
204 |  | 1.6 GPF MANUAL ROYAL FLUSH VLV Code # 3010000 Sloan Product # 111 | EACH
205 |  | 1.5 GPF ROYAL FLUSH VLV Code # 3012600 Sloan Product # 186 | EACH
206 |  | 3.5 GPF MANUAL REGAL CLOSET FLUSH VLV Code # 3080153 Sloan Product # 110XL | EACH
207 |  | 1.6 GPF MANUAL REGAL CLOSET FLUSH VLV Code # 3080053 Sloan Product # 111XL | EACH
208 |  | 1.5 GPF REGAL URINAL FLUSH VLV Code # 3082653 Sloan Product # 186XL | EACH
209 |  | BATTERY OP 4" CENTERSET Code # 3315025 Sloan Product # EBF650 | EACH
210 |  | 4.5 GAL. CLOSET REPAIR KIT Code # 3301036 Sloan Product # A-36-A | EACH
211 |  | 1.5 GAL. URINAL REPAIR KIT Code # 3301037 Sloan Product # A-37-A | EACH
212 |  | 3.5 GAL WATER SAVER REPAIR KIT Code # 3301038 Sloan Product # A-38-A | EACH
213 |  | 1.6 GAL. CLOSET KIT LC Code # 3301041 Sloan Product # A-41-A | EACH
214 |  | 1 GAL. URINAL KIT LC Code # 3301044 Sloan Product # A-42-A | EACH
215 |  | 5 GPF REPAIR KIT REGAL Code # 3301081 Sloan Product #A-43-A | EACH
216 |  | SUPER WRENCH Code # 0301255 Sloan Product # A-50 | EACH
217 |  | INSIDE COVER Code # 0301168 Sloan Product # A-71 | EACH
218 |  | OUTSIDE COVER CP Code # 0301172PK Sloan Product # A-72 | EACH
219 |  | QUIET DIAPHRAGM Code # 5301188 Sloan Product # A-156-A | EACH
220 |  | DIAPHRAGM REPAIR KIT Code # 5301189 Sloan Product # A-156-AA | EACH
221 |  | GUIDE Code # 5301236 Sloan Product # A-163-A | EACH
222 |  | 1.5 DUAL FILTER RK Code # 3301120 Sloan Product # A-1037-A-BX | EACH
223 |  | 3.5 DUAL FILTER RK Code # 3301121 Sloan Product # A-1038-A-BX | EACH
224 |  | 1.6 DUAL FILTER RK Code # 3301122 Sloan Product # A-1041-A-BX | EACH
225 |  | 1.0 DUAL FILTER RK Code # 3301123 Sloan Product # A-1042-A-BX | EACH
226 |  | .5 REPAIR KIT Code # 3301124 Sloan Product # A-1043-A-BX | EACH
227 |  | 2.4 REPAIR KIT Code # 3301125 Sloan Product # A-1044-A-BX | EACH
228 |  | 1.28 GPF ROYAL CLOSET RK Code # 3301119 Sloan Product # A-1045-A | EACH
229 |  | .25 GPF RAYL CLOSET RK Code # 3301142 Sloan Product # A-1047-A | EACH
230 |  | .13 GPF URINAL RK Code # 3301143 Sloan Product # A-1050-A | EACH
231 |  | 1.6 GAL. WATER CLOSET KIT Code # 3301150 Sloan Product # A-1101-A-BX | EACH
232 |  | 3.5 GAL. WATER CLOSET KIT Code # 3301151 Sloan Product # A-1102-A-BX | EACH
233 |  | .5 GAL. WATER CLOSET KIT Code # 3301153 Sloan Product # A-1106-A-BX | EACH
234 |  | 1.0 GAL. URINALKIT Code # 3301154 Sloan Product # A-1107-A-BX | EACH
235 |  | 1.5 GAL. URINAL KIT Code # 3301155 Sloan Product # A-1108-A-BX | EACH
236 |  | O-RING Code # 5308696 Sloan Product # H-553 | EACH
237 |  | VACUUM BREAKER REPAIR KIT Code # 3323182 Sloan Product # V-651-A | EACH
In addition plumbers may need to pick up other sizes and styles of valves and related fittings not listed above. Please quote a discount off of list price good through 12/31/2025 for items not listed herein. ____________% off List Price for Sloan brand parts
HOFFMAN SPECIALTY PARTS
238 |  | 3/4" FLOAT & THERMOSTATIC 15 Code # FT015H Sloan Product # 404200 | EACH
239 |  | 1" FLOAT & THERMOSTATIC 15 Code # FT015H Sloan Product # 404210 | EACH
240 |  | 1-1/4" FLOAT & THERMOSTATIC 15 Code # FT015H Sloan Product # 404220 | EACH
241 |  | 1-1/2" FLOAT & THERMOSTATIC 15 Code # FT015H Sloan Product # 401626 | EACH
242 |  | 2" FLOAT & THERMOSTATIC 15 Code # FT015H Sloan Product # 401629 | EACH
243 |  | 3/4" FLOAT & THERMOSTATIC 30 Code # FT030H Sloan Product # 404202 | EACH
244 |  | 1" FLOAT & THERMOSTATIC 30 Code # FT030H Sloan Product # 404212 | EACH
245 |  | 3/4" FLOAT & THERMOSTATIC 75 Code # FT075H Sloan Product # 404204 | EACH
246 |  | 1" FLOAT & THERMOSTATIC 75 Code # FT075H Sloan Product # 404214 | EACH
247 |  | 3/4" FLOAT & THERMOSTATIC 125 Code # FT125H Sloan Product # 404206 | EACH
248 |  | 1" FLOAT & THERMOSTATIC 125 Code # FT125H Sloan Product # 404216 | EACH
249 |  | 3/4" ANGLE THERM. STEAM TRAP 15 Code # 8C-A-125 Sloan Product # 402003 | EACH
250 |  | 3/4" STRAIGHTWAY THERM. STEAM TRAP 15 Code # 8C-S-125 Sloan Product # 402004 | EACH
251 |  | 1" ANGLE THERM. STEAM TRAP 15 Code # 9C-A-125 Sloan Product # 402005 | EACH
252 |  | 1/2" ANGLE THERM. STEAM TRAP 30 Code # 17C Sloan Product # 401536 | EACH
253 |  | 3/4" VACUUM BREAKER 150 Code # 62 Sloan Product # 401446 | EACH
254 |  | 1/8" STEAM RADIATOR VENT 10 1A 401422 | EACH
255 |  | 1/4" STEAM CONVECTOR VENT 10 1B 401425 | EACH
256 |  | 1/8X1/4 STEAM AIR LINE VENT Max Press 25 Model 3 Hoffman Part # 401419 | EACH
257 |  | 3/4X1/2 THERMOSTATIC STEAM Max Press 25 Model 4 Hoffman Part # 401416 | EACH
258 |  | 3/4X1/2 STEAM MAIN VENT Max Press 10 Model 4A Hoffman Part # 401413 | EACH
259 |  | 1/8" STEAM RADIATOR VENT Max Press 10 Model 40 Hoffman Part # 401440 | EACH
260 |  | 1/8" STEAM RADIATOR VENT Max Press 15 Model 70A Hoffman Part # 401443 | EACH
261 |  | 1/8" STEAM CONVECTOR VENT Max Press 15 Model 71A Hoffman Part # 401470 | EACH
262 |  | VENT Max Press 15 Model 508 Hoffman Part # 401475 | EACH
263 |  | 3/4X1/2 UNIT HEATER VENT Max Press 35 Model 74 Hoffman Part # 401428(29) | EACH
264 |  | 3/4X1/2 STEAM MAIN VENT Max Press 15 Model 75 Hoffman Part # 401434 | EACH
265 |  | 3/4X1/2 STEAM MAIN VENT Max Press 15 Model 75H Hoffman Part # 401437 | EACH
266 |  | 3/4X1/2 VACUUM MAIN VENT Max Press 15 Model 76 Hoffman Part # 401431(32) | EACH
267 |  | 3/4" WATER VENT Max Press 150 Model 78 Hoffman Part # 401485 | EACH
268 |  | 3/4X1/2 WATER VENT Max Press 75 Model 79 Hoffman Part # 401488 | EACH
269 |  | 3/4" WATER VENT Max Press 250 Model 792 Hoffman Part # 401494 | EACH
270 |  | 1/2" SERVICE KIT BEAR TRAP Model 600084 Hoffman Part # 17C | EACH
271 |  | 1-1/2" SVC. PKG. COVER ASM. Model 601120 Hoffman Part # FT015H | EACH
272 |  | 2" SVC. PKG. COVER ASM. Model 601123 Hoffman Part # FT015H | EACH
273 |  | 3/4&1 SVC. PKG. COVER ASM. Model 604001 Hoffman Part # FT015H | EACH
BELL & GOSSET
274 |  | 1/2" (110190LF) 1/2" LOW PRESSURE 12 PSIG Part # B-38 | EACH
x 1.05 Local/Certified Preference Price
275 |  | 3/4" (110196LF) 3/4" LOW PRESSURE 12 PSIG Part # B-7-12 | EACH
x 1.05 Local/Certified Preference Price
276 |  | 1/2" (110192LF) 1/2" LOW PRESSURE 12 PSIG Part # FB-38 | EACH
277 |  | 1/2" (110194LF) 1/2" HIGH PRESSURE Part # 6 | EACH
278 |  | 3/4" (110195LF) 3/4" HIGH PRESSURE Part # 7 | EACH
279 |  | 1/2" (110199LF) 1/2" IRON DUAL UNIT VALVE Part # 8 | EACH
280 |  | (117414LF) CIRCUIT SETTER Part # CB 1/2 | EACH
281 |  | (117412LF) CIRCUIT SETTER SWEAT Part # CB 1/2S | EACH
282 |  | (117415LF) CIRCUIT SETTER Part # CB 3/4 | EACH
283 |  | (117413LF) CIRCUIT SETTER SWEAT Part # CB 3/4S | EACH
284 |  | 3/4", 1" IRON BODY CIRCULATOR BOOSTER PUMP W/FLANGES Part # 106189 | EACH
285 |  | 1-1/4", 1-1/2" IRON BODY CIRCULATOR BOOSTER PUMP W/FLANGES Part # 106189 | EACH
286 |  | 1", 1-1/4" HIGH VELOCITY IRON BODY 1/6 HP HV SERIES W/FLANGES Part # 102210 | EACH
287 |  | P-P 1/6 HP Part # 111031 | EACH
288 |  | P-P 1/12 HP Part # 111034 | EACH
289 |  | COUPLER Part # 118473 | EACH
290 |  | COUPLER Part # 118705 | EACH
291 |  | BEARING ASSY Part # 118844LF | EACH
292 |  | BEARING ASSY Part # 186863LF | EACH
293 |  | FLUIDMASTER TANK FILL VALVE Part # 400A | EACH
294 |  | FLUIDMASTER TANK REBUILD KIT Part # PRO 45 | EACH
295 |  | KORKY TANK FLAPPER | EACH
296 |  | 1/4" JOHNNY BOLTS | EACH
297 |  | 5/16" JOHNNY BOLTS | EACH
298 |  | CENTRAL COLD FAUCET STEM Part # G-453-EL | EACH
299 |  | CENTRAL HOT FAUCET STEM Part # G-453-ER | EACH
300 |  | MOEN CARTRIDGE Part # 1225B | EACH
301 |  | 7 LB STA-PUT PLUMBERS PUTTY | EACH
302 |  | 1/2 PINT BLUE MAGIC THREAD COMPOUND | EACH
303 |  | PINT BLUE MAGIC THREAD COMPOUND | EACH
304 |  | PINT PVC PRIMER | EACH
305 |  | QUART PVC PRIMER | EACH
306 |  | PINT PVC CLEAR GLUE | EACH
307 |  | QUART PVC CLEAR GLUE | EACH
308 |  | PINT SCH 80 GREY GLUE | EACH
309 |  | QUART SCH 80 GREY GLUE | EACH
310 |  | GALLON CALCI-SOLVE ACID | EACH
311 |  | 1.25" PVC TUBULAR P-TRAP | EACH
312 |  | 1.50" PVC TUBULAR P-TRAP | EACH
313 |  | 1.5" SCH 40 PVC PIPE | EACH
314 |  | 2" SCH 40 PVC PIPE | EACH
315 |  | 3" SCH 40 PVC PIPE | EACH
316 |  | 4" SCH 40 PVC PIPE | EACH
317 |  | 6" SCH 40 PVC PIPE | EACH
318 |  | 8" SCH 40 PVC PIPE | EACH
319 |  | 10" SCH 40 PVC PIPE | EACH
320 |  | 1.50" SCH 80 PVC PIPE | EACH
321 |  | 2" SCH 80 PVC PIPE | EACH
322 |  | 3" SCH 80 PVC PIPE | EACH
323 |  | 4" SCH 80 PVC PIPE | EACH
324 |  | 6" SCH 80 PVC PIPE | EACH
325 |  | 8" SCH 80 PVC PIPE | EACH
326 |  | 10" SCH 80 PVC PIPE | EACH
327 |  | 2" SCH 80 PVC FLANGE | EACH
x 1.05 Local/Certified Preference Price
328 |  | 3" SC 80 PVC FLANGE | EACH
x 1.05 Local/Certified Preference Price
329 |  | 4" SCH 80 PVC FLANGE | EACH
x 1.05 Local/Certified Preference Price
330 |  | 2" NO HUB BAND | EACH
331 |  | 3" NO HUB BAND | EACH
332 |  | 4" NO HUB BAND | EACH
333 |  | 6" FEMALE CAP | EACH
334 |  | 8" FEMALE CAP | EACH
335 |  | 10" FEMALE CAP | EACH