## Sheet1
STANDBY GENERATOR INSPECTION & MAINTENANCE - PART II |  |  | IFB 26023Z
Vendors are not required to quote on every line item. The City reserves the right to make awards to one or multiple vendors that best meet its requirements. Purchase orders may be issued or amended throughout the year as needed by the various City divisions. Bidders must complete all "Warranty-Certified Work Information", "Monthly Inspection & Service Description", "Location", “Work Hours”, "Emergency Services", and “Response Time” fields in the spaces provided. Incomplete responses may result in bid rejection unless otherwise noted. The City’s bid form must be used; no other forms will be accepted. “See attached” may be used only for additional pricing or information not listed in this bid.
WARRANTY-CERTIFIED WORK INFORMATION:
Vendors shall provide documentation demonstrating current factory certification at the industrial generator level or higher for the following manufacturers, as applicable: 1. Generac 2. Cummins 3. Kohler Portable or air-cooled generator certifications shall not be acceptable. Vendor shall clearly identify: A. Manufacturer(s) for which they hold factory certification B. Generator model numbers covered under their certification C. Type of warranty work authorized (inspection, diagnostics, repairs, parts replacement, controller programming, etc.) Documentation verifying current certification status If the Vendor is not certified to perform warranty work on any generator listed in Attachment A, Vendor must clearly state such in their bid response. Vendors may still submit pricing for non-warranty maintenance services where applicable.
MONTHLY INSPECTION & SERVICE DESCRIPTION
The Vendor shall confirm that the Flat Rate Monthly Inspection & Service Cost includes all inspection, testing, documentation, and preventive maintenance activities required under Sections 26 01 30 and 26 01 30-L of the specifications. The Vendor may attach a supplemental description of services; however, the City’s specifications shall govern in the event of any conflict.
LOCATION:
Where is your closest office near to Dayton, OH? Please provide the full street address:
WORK HOURS:
Work performed outside standard hours without prior written approval from the City shall be paid at the Standard Hourly Rate. This limitation does not apply to emergency service requests initiated by the City. Emergency work shall be billed at the Emergency Service Hourly Rate specified in the Bid Form.
Standard work hours - Please define:
Non-Standard work hours - Please define:
Weekend work hours - Please define:
Holidays (as designated by Bidder) – Please define: (Bidder must provide an annual Holiday list with bid response)
EMERGENCY SERVICES:
Available 24/7/365:
If yes, provide contact details for two (2) corporate officers or senior management personnel for 24-hour, year-round emergency services:
Contact Name:
Title:
Telephone Number:
Email Address:
Contact Name:
Title:
Telephone Number:
Email Address:
RESPONSE TIME:
Contractor shall respond to a City requestor’s telephone call or service request during normal business hours within the following number of hours:
Contractor shall arrive on-site for standard service requests related to standby generator systems within the following number of hours after notification:
Contractor shall arrive on-site for emergency service requests within two (2) hours of notification. This is a mandatory maximum response time requirement. Vendor shall confirm compliance:
SECTION 1: LABOR RATES
The hourly labor rates listed in this Bid Form shall be fully burdened rates. No additional labor multipliers, administrative percentages, shop fees, fuel surcharges, travel, or overhead adders shall be applied. All labor shall be billed at the hourly rates listed below unless specifically stated otherwise in the Bid Form. Labor rates may be charged to the City of Dayton only with approval from the project manager. Labor rates shall not be applied during routine monthly inspection and service. They will only be charged for additional repairs outside routine monthly inspection and service, and only with approval from the project manager. All routine inspection, testing, and preventive maintenance activities required by the specifications are included in the Flat Rate Monthly Inspection & Service Cost and shall not be billed at hourly labor rates.
Item No. | Description | Unit | Unit Price
1 | Technician - Standard Hourly Rate | Hourly Rate | $
2 | Technician - Non-Standard Hourly Rate | Hourly Rate | $
3 | Technician - Weekend Hourly Rate | Hourly Rate | $
4 | Technician - Holiday Hourly Rate | Hourly Rate | $
5 | Technician - Emergency Service Hourly Rate | Hourly Rate | $
SECTION 2: FLAT RATE MONTHLY INSPECTION & SERVICE COST (SEE ATTACHMENT B)
The Flat Rate Monthly Inspection & Service Cost shall include all routine inspection, testing, documentation, and preventive maintenance required under Sections 26 01 30 and 26 01 30-L for each individual standby generator system. Pricing shall be submitted on a per-generator, per-month basis. Vendors may submit pricing only for the generators and manufacturers for which they are qualified and certified to perform the required services. The City reserves the right to make awards by individual generator, by manufacturer group, or in any combination that is in the best interest of the City. All pricing shall include labor, travel, tools, testing equipment, administrative costs, and the twelve (12) required service visits annually per generator. Vendors shall not condition pricing on the award of multiple generators unless explicitly stated. The City reserves the right to make multiple awards based on manufacturer certification, price, and operational needs.
6 | Generac: S12R-Y2PTAW-1 | Per Generator Per Month | $
7 | Generac: F3BE9685A-E | Per Generator Per Month | $
7 | Cummins: DQCB-1713911 | Per Generator Per Month | $
7 | Cummins: DFEJ2450911 | Per Generator Per Month | $
7 | Cummins: C125D6C-2510550 | Per Generator Per Month | $
7 | Cummins: C125D6C-2580549 | Per Generator Per Month | $
7 | Kohler: 100REOZID | Per Generator Per Month | $
SECTION 3: ORIGINAL EQUIPMENT MANUFACTURE (OEM) PARTS MARKUP
The approved markup percentage shall apply only to the contractor’s direct cost for OEM parts. No markup shall be applied to freight, shipping, environmental fees, subcontractor invoices, or taxes. If non-OEM parts are approved by the City, the same markup percentage shall apply unless otherwise authorized in writing. OEM parts markup applies only to goods provided outside the Flat Rate Monthly Inspection & Service. OEM parts markup shall be used and billed only with the approval of the project manager and for repair services required outside routine monthly inspection and service. OEM parts and their markup shall be clearly stated on all billing submitted to the City of Dayton.
7 | Markup on OEM Parts | Percentage | %
YES
NO