## Sheet1
| Serial Number | Model Number | Facility of Location | Generator Location | Size
|  | S12R-Y2PTAW-1 | Ottawa Water Treatment Plant | 1044 Ottawa Street Dayton, OH, 45414-4401 | 1250 KW
1 | 3015722935 |  |  |  | 4160 V, 3 Phase, 60 Hz
| Generac |  |  |  | 392”x114”x205”
Diesel Engine Generator
|  | S12R-Y2PTAW-1 | Ottawa Water Treatment Plant | 1044 Ottawa Street Dayton, OH, 45414-4401 | 1250 KW
2 | 3015722934 |  |  |  | 4160 V, 3Phase, 60 Hz
| Generac |  |  |  | 392”x114”x205”
Diesel Engine Generator
|  | F3BE9685A-E | Miami Water Treatment Plant | 3210 Chuck Wagner Lane Dayton, OH, 451414-4401 | 350 KW
3 | 3014664152 |  |  |  | 480 V,3 Phase, 60 Hz
| Generac |  |  |  | 304”x58”x118”
Diesel Engine Generator
|  | S12R-Y2PTAW-1 | Miami Water Treatment Plant | 3210 Chuck Wagner Lane Dayton, OH, 451414-4401 | 1250 KW
4 | 3015880316 |  |  |  | 4160 V, 3Phase, 60 Hz
| Generac |  |  |  | 392”x114”x205”
Diesel Engine Generator
|  | S12R-Y2PTAW-1 | Miami Water Treatment Plant | 3210 Chuck Wagner Lane Dayton, OH, 451414-4401 | 1250 KW
5 | 3015939785 |  |  |  | 4160 V, 3 Phase, 60 Hz
| Generac |  |  |  | 392”x114”x205”
Diesel Engine Generator
|  | DQCB-1713911 | DM-1 | 2000 Carillion Blvd Dayton, OH 45409 | 750 kW 480 V
6 | D170174458 |  |  |  | 3 Phase.60 Hz
| Cummins |  |  |  | 315”x97”x140”
Diesel Engine Generator
|  | DFEJ2450911 | Anderson Reservoir | 208 Anderson St Dayton, OH 45410 | 450 kW 480V,
7 | K240391901 |  |  |  | 3 Phase, 60 Hz
| Cummins |  |  |  | 283”x130”x117”
Diesel Engine Generator
|  | 100REOZID | Brantford Reservoir | 6975 Brantford Rd Dayton, OH 45414 | 100 kW 480V,
8 | 2249346 |  |  |  | 3 Phase, 60 Hz
| Kohler |  |  |  | 180”x108”x107”
Diesel Engine Generator
|  | C125D6C-2510550 | Miami Well Field Bldg | 3600 Dayton Park Dr Dayton, OH 45414 | 125 kW 230V,
9 | E250455323 |  |  |  | 3 Phase delta w/ct,60Hz
| Cummins |  |  |  | 154”x40”x80”
Diesel Engine Generator
|  | C125D6C-2580549 | Mad River Well Fiel Bldg | 1400 Harshman Rd Dayton, OH 45424 | 125 kW 230V,
10 | E250455324 |  |  |  | 3 Phase delta w/ct,60Hz
| Cummins |  |  |  | 154”x40”x80”
Diesel Engine Generator